## Sample
LOAD DISPATCH CENTRE, NEPAL ELECTRICITY AUTHORITY DAILY SYSTEM OPERATION LOG FOR INPS | [31 empty] | Installed Capacity (MW)
| Bhai |  | Sim |  | Ktm |  | Brt |  | Rainfall | Bhai | Sim | Ktm | Brt | [18 empty] | 2732.3274 | IPP
[21 empty] | * other ipp reduced to 210 due to addition of rudi khola a in log sheet |  | llkkjmj | [8 empty] | 489.91 | NEA RoR
Nepali Date: | #VALUE! |  |  | #VALUE! |  |  | #VALUE! |  |  | #REF! | [21 empty] | 106 | NEA Storage
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | #REF! | [21 empty] | 3328.2374 | Total Hydro
Base Load=252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 1572.9 | 1679.4 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252
| Night Shift(Contd..) | [10 empty] | Morning Shift | [5 empty] | Day Shift | [8 empty] | Night Shift | [17 empty] | DAILY SYSTEM PEAK : 2215.8 MW
Hrs. Source | 0 | 0.041667 | 0.083333 | 0.125 | 0.16667 | 0.20833 | 0.22917 | 0.25 | 0.27083 | 0.29167 | 0.3125 | 0.33333 | 0.375 | 0.41667 | 0.45833 | 0.5 | 0.54167 | 0.58333 | 0.625 | 0.66667 | 0.70833 | 0.72917 | 0.75 | 0.77083 | 0.79167 | 0.8125 | 0.83333 | 0.85417 | 0.875 | 0.91667 | 0.95833 | Installed Capacity (MW) | [12 empty] | DAILY NATIONAL PEAK : 1679.4 MW
[33 empty] | Max | Min | bar: 0.33333 to 0.54167
Solu Khola (Dudhkoshi)(86.000) | 0.5: 86.6; 0.54167: 86.6 | 86 | 86.6 | 86.6
Lower Solu(82.000) | 0.5: 83; 0.54167: 83 | 82 | 83 | 83 |  |  | Sample
Sanjen Khola(78.000) | 0.5: 20; 0.54167: 20 | 78 | 20 | 20 |  |  | #VALUE!
Likhu-1(77.000) | 0.5: 0; 0.54167: 0 | 77 | 0 | 0
Middle Tamor(73.000) | [15 empty] | 73.8 | 73.8 | [14 empty] | 73 | 73.8 | 73.8 |  |  | Hrs. | 0:00 | 0.041667 | 0.083333 | 0.125 | 0.16667 | 0.20833 | 0.25 | 0.29167 | 0.33333 | 0.375 | 0.41667 | 0.45833 | 0.5 | 0.54167 | 0.58333 | 0.625 | 0.66667 | 0.70833 | 0.75 | 0.79167 | 0.83333 | 0.875 | 0.91667 | 0.95833
Nilgiri Khola-2 Cascade(71.000) | [15 empty] | 36 | 36 | [14 empty] | 71 | 36 | 36 |  |  | IPP | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 1383.5 | 1383.5 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250
Khimti Khola(60.000) | [15 empty] | 36.6 | 36.6 | [14 empty] | 60 | 36.6 | 36.6 |  |  | NEA SUB | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 408.5 | 451.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Super Dordi 'Kha'(54.000) | [15 empty] | 28 | 28 | [14 empty] | 54 | 28 | 28 |  |  | NEA ROR PROR | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 398.4 | 380.5 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
Likhu-2(52.465) | [15 empty] | 21.6 | 21.6 | [14 empty] | 52.465 | 21.6 | 21.6 |  |  | IMPORT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Likhu-IV(52.400) | [15 empty] | 0 | 0 | [14 empty] | 52.4 | 0 | 0 |  |  | NEA STORAGE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mewa Khola(50.000) | [15 empty] | 26 | 26 | [14 empty] | 50 | 26 | 26 |  |  | INTERRUPTION | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Upper Marsyangdi "A"(50.000) | [15 empty] | 0 | 0 | [14 empty] | 50 | 0 | 0 |  |  | System_Load | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 2190.4 | 2215.8 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252
Upper Rahughat(48.500) | [15 empty] | 10.4 | 10.4 | [14 empty] | 48.5 | 10.4 | 10.4 |  |  | Export | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -617.5 | -536.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Upper Bhotekoshi Khola(45.000) | [15 empty] | 26 | 26 | [14 empty] | 45 | 26 | 26
Super Madi(44.000) | [15 empty] | 40.1 | 40.1 | [14 empty] | 44 | 40.1 | 40.1 |  |  | National_Load | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 1572.9 | 1679.4 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252
Mistri Khola(42.000) | [15 empty] | 22.1 | 22.1 | [14 empty] | 42 | 22.1 | 22.1
Upper Chameliya(40.000) | [15 empty] | 40 | 40 | [14 empty] | 40 | 40 | 40
Upper Kalangagad(38.460) | [15 empty] | 40.8 | 40.8 | [14 empty] | 38.46 | 40.8 | 40.8
Nilgiri Khola(38.000) | [15 empty] | 21 | 21 | [14 empty] | 38 | 21 | 21
Upper Balephi A(36.000) | [15 empty] | 21 | 21 | [14 empty] | 36 | 21 | 21
Rahughat Mangale(35.500) | [15 empty] | 8 | 8 | [14 empty] | 35.5 | 8 | 8
Karuwa Seti(32.000) | [15 empty] | 20.3 | 20.3 | [14 empty] | 32 | 20.3 | 20.3
Nyadi(30.000) | [15 empty] | 0 | 0 | [14 empty] | 30 | 0 | 0
Likhu Khola A(29.040) | [15 empty] | 17.4 | 17.4 | [14 empty] | 29.04 | 17.4 | 17.4
Lower Likhu(28.100) | [15 empty] | 16 | 16 | [14 empty] | 28.1 | 16 | 16
Dordi Khola(27.000) | [15 empty] | 14 | 14 | [14 empty] | 27 | 14 | 14
Kabeli B-1(25.000) | [15 empty] | 20.2 | 20.2 | [14 empty] | 25 | 20.2 | 20.2
Seti Nadi(25.000) | [15 empty] | 14.7 | 14.7 | [14 empty] | 25 | 14.7 | 14.7
Singati Khola(25.000) | [15 empty] | 17.8 | 17.8 | [14 empty] | 25 | 17.8 | 17.8
Upper Dordi A(25.000) | [15 empty] | 13 | 13 | [14 empty] | 25 | 13 | 13
Upper Madi(25.000) | [15 empty] | 18.9 | 18.9 | [14 empty] | 25 | 18.9 | 18.9
Madame Khola(24.000) | [15 empty] | 12.6 | 12.6 | [14 empty] | 24 | 12.6 | 12.6
Solu Khola(23.500) | [15 empty] | 24.5 | 24.5 | [14 empty] | 23.5 | 24.5 | 24.5
Upper Thulo khola A(22.500) | [15 empty] | 6.3 | 6.3 | [14 empty] | 22.5 | 6.3 | 6.3
Upper Chaku A(22.200) | [15 empty] | 11 | 11 | [14 empty] | 22.2 | 11 | 11
Tallo Hewa Khola(22.100) | [15 empty] | 18.9 | 18.9 | [14 empty] | 22.1 | 18.9 | 18.9
Bagmati Khola Small(22.000) | [15 empty] | 11.6 | 11.6 | [14 empty] | 22 | 11.6 | 11.6
Mai Khola(22.000) | [15 empty] | 17.6 | 17.6 | [14 empty] | 22 | 17.6 | 17.6
Seti Khola(22.000) | [15 empty] | 11.8 | 11.8 | [14 empty] | 22 | 11.8 | 11.8
Kabeli-3(21.930) | [15 empty] | 18.4 | 18.4 | [14 empty] | 21.93 | 18.4 | 18.4
Thulo Khola(21.300) | [15 empty] | 4.4 | 4.4 | [14 empty] | 21.3 | 4.4 | 4.4
Lower Modi (20.000) | [15 empty] | 10.3 | 10.3 | [14 empty] | 20 | 10.3 | 10.3
Sagu Khola(20.000) | [15 empty] | 10.2 | 10.2 | [14 empty] | 20 | 10.2 | 10.2
Upper Solu(19.800) | [15 empty] | 20 | 20 | [14 empty] | 19.8 | 20 | 20
Middle Modi(18.000) | [15 empty] | 5.4 | 5.4 | [14 empty] | 18 | 5.4 | 5.4
Kalangagad(15.330) | [15 empty] | 15.5 | 15.5 | [14 empty] | 15.33 | 15.5 | 15.5
Hewa Khola A(14.900) | [15 empty] | 13 | 13 | [14 empty] | 14.9 | 13 | 13
Maya Khola(14.900) | [15 empty] | 10.5 | 10.5 | [14 empty] | 14.9 | 10.5 | 10.5
Upper Mailun(14.300) | [15 empty] | 15 | 15 | [14 empty] | 14.3 | 15 | 15
Ghar Khola(14.000) | [15 empty] | 7.5 | 7.5 | [14 empty] | 14 | 7.5 | 7.5
Thapa Khola(13.600) | [15 empty] | 6 | 6 | [14 empty] | 13.6 | 6 | 6
Super Kabeli A(13.500) | [15 empty] | 11.4 | 11.4 | [14 empty] | 13.5 | 11.4 | 11.4
Lower Irkhuwa Khola Hydropower (13.040) | [31 empty] | 13.04 | 0 | 0
Madkyu Khola(13.000) | [31 empty] | 13 | 0 | 0
Dordi-1 Khola(12.000) | [15 empty] | 6 | 6 | [14 empty] | 12 | 6 | 6
Dudhkunda Khola(12.000) | [15 empty] | 13.2 | 13.2 | [14 empty] | 12 | 13.2 | 13.2
Jhimruk Khola(12.000) | [15 empty] | 6.8 | 6.8 | [14 empty] | 12 | 6.8 | 6.8
Super Kabeli(12.000) | [15 empty] | 9.9 | 9.9 | [14 empty] | 12 | 9.9 | 9.9
Upper Khimti(12.000) | [15 empty] | 10.3 | 10.3 | [14 empty] | 12 | 10.3 | 10.3
Namarjun Madi(11.880) | [15 empty] | 10.5 | 10.5 | [14 empty] | 11.88 | 10.5 | 10.5
Lower Khare(11.000) | [15 empty] | 5.4 | 5.4 | [14 empty] | 11 | 5.4 | 5.4
Upper Tadi(11.000) | [31 empty] | 11 | 0 | 0
Upper Sanigad(10.700) | [15 empty] | 11.6 | 11.6 | [14 empty] | 10.7 | 11.6 | 11.6
Down Piluwa(10.300) | [31 empty] | 10.3 | 0 | 0
Bagmati Khola Small (Third Unit)(10.000) | [31 empty] | 10 | 0 | 0
Digghi Khola Hydropower(10.000) | [31 empty] | 10 | 0 | 0
Lower Modi 1(10.000) | [15 empty] | 4.6 | 4.6 | [14 empty] | 10 | 4.6 | 4.6
Makarigad(10.000) | [31 empty] | 10 | 0 | 0
Other IPP Total | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 725.0824 | 250 | 250
Kabeli Corridor | [15 empty] | 170.5 | 170.5 | [14 empty] | 240 | 170.5 | 170.5
Total IPP | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 1383.5 | 1383.5 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 2732.3274 | 1383.5 | 250
Upper Tamakoshi(456.000) | [15 empty] | 341.7 | 331 | [14 empty] | 456 | 341.7 | 331
Rasuwagadhi(111.000) | [15 empty] | 0 | 54 | [14 empty] | 111 | 54 | 0
Middle Bhotekoshi(102.000) | [15 empty] | 0 | 0 | [14 empty] | 102 | 0 | 0
Sanjen(42.500) | [15 empty] | 40.8 | 40.8 | [14 empty] | 42.5 | 40.8 | 40.8
Chilime(22.100) | [15 empty] | 11.1 | 11.1 | [14 empty] | 22.1 | 11.1 | 11.1
Upper Sangen(14.8) | [15 empty] | 14.9 | 14.9 | [14 empty] | 14.8 | 14.9 | 14.9
Total NEA SUBSIDIARIES | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 408.5 | 451.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 748.4 | 451.8 | 0 |  |  |  |  | 0.54167: 1; 0.58333: 2; 0.625: 3; 0.66667: 4; 0.70833: 5; 0.75: 6; 0.79167: 7; 0.83333: 8; 0.875: 9; 0.91667: 10; 0.95833: 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
KGA(144) | [15 empty] | 138.9 | 138.9 | [14 empty] | 144 | 138.9 | 138.9 |  |  |  |  | 0.5: Tanakpur; 0.54167: 0; 0.58333: 0; 0.625: 0; 0.66667: 0; 0.70833: 0; 0.75: 0; 0.79167: 0; 0.83333: 0; 0.875: 0; 0.91667: 0; 0.95833: 0 | -385.3 | -312 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Middle MRS(70) | [15 empty] | 53.8 | 69.9 | [14 empty] | 70 | 69.9 | 53.8 |  |  |  |  | 0.5: Kat; 0.54167: 0; 0.58333: 0; 0.625: 0; 0.66667: 0; 0.70833: 0; 0.75: 0; 0.79167: 0; 0.83333: 0; 0.875: 0; 0.91667: 0; 0.95833: 0 | -202 | -186 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MRS(69) | [15 empty] | 63.8 | 66.4 | [14 empty] | 69 | 66.4 | 63.8 |  |  |  |  | 0.5: Muz; 0.54167: 0; 0.58333: 0; 0.625: 0; 0.66667: 0; 0.70833: 0; 0.75: 0; 0.79167: 0; 0.83333: 0; 0.875: 0; 0.91667: 0; 0.95833: 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
U Trisuli 3A(60) | [15 empty] | 58 | 58 | [14 empty] | 60 | 58 | 58 |  |  |  |  | 0.5: Ram; 0.54167: 0; 0.58333: 0; 0.625: 0; 0.66667: 0; 0.70833: 0; 0.75: 0; 0.79167: 0; 0.83333: 0; 0.875: 0; 0.91667: 0; 0.95833: 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CHM(30) | [15 empty] | 23.3 | 0 | [14 empty] | 30 | 23.3 | 0 |  |  |  |  | 0.5: Rax; 0.54167: 0; 0.58333: 0; 0.625: 0; 0.66667: 0; 0.70833: 0; 0.75: 0; 0.79167: 0; 0.83333: 0; 0.875: 0; 0.91667: 0; 0.95833: 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NEA SOLAR(25) | [15 empty] | 19.3 | 6.9 | [14 empty] | 25 | 19.3 | 6.9 |  |  |  |  | 0.5: Sam; 0.54167: 0; 0.58333: 0; 0.625: 0; 0.66667: 0; 0.70833: 0; 0.75: 0; 0.79167: 0; 0.83333: 0; 0.875: 0; 0.91667: 0; 0.95833: 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TRI(24) | [15 empty] | 8.1 | 8.1 | [14 empty] | 24 | 8.1 | 8.1
GDK(15) | [15 empty] | 2.6 | 2.7 | [14 empty] | 15 | 2.7 | 2.6 |  |  |  |  | 0.54167: 0; 0.58333: 0; 0.625: 0; 0.66667: 0; 0.70833: 0; 0.75: 0; 0.79167: 0; 0.83333: 0; 0.875: 0; 0.91667: 0; 0.95833: 0 | -385.3 | -312 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DEVI(14.1) | [15 empty] | 8.2 | 8 | [14 empty] | 14.1 | 8.2 | 8 |  |  |  |  | 0.54167: 0; 0.58333: 0; 0.625: 0; 0.66667: 0; 0.70833: 0; 0.75: 0; 0.79167: 0; 0.83333: 0; 0.875: 0; 0.91667: 0; 0.95833: 0 | -202 | -186 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MODI(14) | [15 empty] | 5.4 | 4.6 | [14 empty] | 14 | 5.4 | 4.6 |  |  |  |  | 0.54167: 0; 0.58333: 0; 0.625: 0; 0.66667: 0; 0.70833: 0; 0.75: 0; 0.79167: 0; 0.83333: 0; 0.875: 0; 0.91667: 0; 0.95833: 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SUN(10.05) | [15 empty] | 8.8 | 8.8 | [14 empty] | 10.05 | 8.8 | 8.8 |  |  |  |  | 0.54167: 0; 0.58333: 0; 0.625: 0; 0.66667: 0; 0.70833: 0; 0.75: 0; 0.79167: 0; 0.83333: 0; 0.875: 0; 0.91667: 0; 0.95833: 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PUWA(6.2) | [15 empty] | 6.2 | 6.2 | [14 empty] | 6.2 | 6.2 | 6.2 |  |  |  |  | 0.54167: 0; 0.58333: 0; 0.625: 0; 0.66667: 0; 0.70833: 0; 0.75: 0; 0.79167: 0; 0.83333: 0; 0.875: 0; 0.91667: 0; 0.95833: 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other NEA Small | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 8.56 | 2 | 2 |  |  |  |  | 0.54167: 0; 0.58333: 0; 0.625: 0; 0.66667: 0; 0.70833: 0; 0.75: 0; 0.79167: 0; 0.83333: 0; 0.875: 0; 0.91667: 0; 0.95833: 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total ROR | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 398.4 | 380.5 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 489.91 | 398.4 | 2
KL1(60) | [31 empty] | 60 | 0 | 0
KL2(32) | [31 empty] | 32 | 0 | 0
KL3(14) | [31 empty] | 14 | 0 | 0 |  |  |  |  | 0.83333: 0; 0.875: 0; 0.91667: 0; 0.95833: 0 | 0 | 0
Total STORGE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 106 | 0 | 0 |  |  |  |  | 0.83333: 0; 0.875: 0; 0.91667: 0; 0.95833: 0 | 0 | 0
MUJAFFARPUR | [15 empty] | -385.3 | -312 | [15 empty] | -312 | -385.3 |  |  |  |  | 0.83333: 0; 0.875: 0; 0.91667: 0; 0.95833: 0 | 0 | 0
KATAIYA | [15 empty] | -202 | -186 | [15 empty] | -186 | -202 |  |  | UTK Discharge Test |  | 0.83333: 0; 0.875: 0; 0.91667: 0; 0.95833: 0 | 0 | 0
RAXAUL | [32 empty] | 0 | 0 |  |  |  |  | 0.83333: 0; 0.875: 0; 0.91667: 0; 0.95833: 0 | 0 | 0
RAMNAGAR | [32 empty] | 0 | 0 |  | Line1 |  |  | 0.83333: 0; 0.875: 0; 0.91667: 0; 0.95833: 0 | 0 | 0
SAMPATIYA | [32 empty] | 0 | 0 |  | Line 2 |  |  | 0.83333: 0; 0.875: 0; 0.91667: 0; 0.95833: 0 | 0 | 0
TANAKPUR | [15 empty] | -30.2 | -38.4 | [15 empty] | -30.2 | -38.4 |  |  |  |  | 0.83333: 0; 0.875: 0; 0.91667: 0; 0.95833: 0 | 0 | 0
BISHANPUR(33kV) | [32 empty] | 0 | 0 |  |  |  |  | 0.83333: 0; 0.875: 0; 0.91667: 0; 0.95833: 0 | 0 | 0
JALESHWOR(33kV) | [32 empty] | 0 | 0 |  |  |  |  | 0.83333: 0; 0.875: 0; 0.91667: 0; 0.95833: 0 | 0 | 0
NANPARA(33kV) | [32 empty] | 0 | 0 |  |  |  |  | 0.83333: 0; 0.875: 0; 0.91667: 0; 0.95833: 0 | 0 | 0
RAJBIRAJ(33kV) | [32 empty] | 0 | 0 |  |  |  |  | 0.83333: -385.3; 0.875: -202; 0.91667: 0; 0.95833: 0 | 0 | 0
RAXAUL(33kV) | [32 empty] | 0 | 0 |  |  |  |  | 0.83333: -312; 0.875: -186; 0.91667: 0; 0.95833: 0 | 0 | 0
Total IMPORT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0.83333: 0; 0.875: 0; 0.91667: 0; 0.95833: 0 | 0 | 0
MULTI F(39) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 39 | 0 | 0 |  |  |  |  | 0.83333: 0; 0.875: 0; 0.91667: 0; 0.95833: 0 | 0 | 0
HTD DI(14.41) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.4 | 0 | 0 |  |  |  |  | 0.83333: 0; 0.875: 0; 0.91667: 0; 0.95833: 0 | 0 | 0
MRS DI() | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 |  |  |  |  | 0.83333: 0; 0.875: 0; 0.91667: 0; 0.95833: 0 | 0 | 0
Total THERMAL | [22 empty] | 0 | [8 empty] | 55.4 | 0 | 0 |  |  |  |  | 0.83333: 0; 0.875: 0; 0.91667: 0; 0.95833: 0 | 0 | 0
TOTAL SYSTEM LOAD (ACTUAL) | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 2190.4 | 2215.8 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 4132.0374 | 2215.8 | 252 |  |  |  |  | 0.83333: 0; 0.875: 0; 0.91667: 0; 0.95833: 0 | 0 | 0
Interruption/Tripping | [32 empty] | 0 | 0 |  |  |  |  | 0.83333: 0; 0.875: 0; 0.91667: 0; 0.95833: 0 | 0 | 0
TOTAL SYSTEM LOAD (EXPECTED) | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 2190.4 | 2215.8 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 3383.6374 | 2215.8 | 252 |  |  |  |  | 0.83333: 0; 0.875: 0; 0.91667: 0; 0.95833: 0 | 0 | 0
TOTAL NATIONAL LOAD (ACTUAL) | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 1572.9 | 1679.4 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 |  | 1679.4 | 252 |  |  |  |  | 0.83333: 0; 0.875: 0; 0.91667: 0; 0.95833: 0 | 0 | 0
MUJAFFARPUR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 385.3 | 312 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 385.3 | 0 |  |  |  |  | 0.83333: 0; 0.875: 0; 0.91667: 0; 0.95833: 0 | 0 | 0
KATAIYA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 202 | 186 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 202 | 0 |  |  |  |  | 0.83333: 0; 0.875: 0; 0.91667: 0; 0.95833: 0 | 0 | 0
RAXAUL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
RAMNAGAR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
SAMPATIYA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
TANAKPUR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30.2 | 38.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 38.4 | 0
Total EXPORT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 617.5 | 536.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 617.5 | 0 | 536.4
NET IMPORT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -617.5 | -536.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | -617.5
FREQUENCY & VOLTAGE PROFILE | [32 empty] | 0 | 0
FREQUENCY (Hz) | [15 empty] | 50.046 | 50.046 | [15 empty] | 50.046 | 50.046
ANAMANI 132KV | [15 empty] | 131.9 | 131.9 | [15 empty] | 131.9 | 131.9
DUBI 132KV | [15 empty] | 129.6 | 129.6 | [15 empty] | 129.6 | 129.6
HTD 132KV | [32 empty] | 0 | 0
SUI 132KV | [15 empty] | 133 | 133 | [15 empty] | 133 | 133
KG-A 132KV | [15 empty] | 132.9 | 132.9 | [15 empty] | 132.9 | 132.9
KOHALPUR 132KV | [15 empty] | 127 | 127 | [15 empty] | 127 | 127
SUI 66KV | [15 empty] | 66.5 | 66.5 | [15 empty] | 66.5 | 66.5
[33 empty] | 0 | 0 |  |  | Rahughat Corridor | Rated | 0.041667: 80%; 0.083333: DI
Kathmandu Load | 124.14 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 42 | 226.84 | 214.24 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0 | 0 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 |  | 226.84 | 0 |  |  | M Thulo Kholla | 22.5 | 0.041667: 18; 0.083333: 4.5
LINE FLOWS | [32 empty] | 0 | 0 |  |  | Thulo Khola | 21.3 | 0.041667: 17.04; 0.083333: 4.26
MRS-SYU | [15 empty] | 62 | 62 | [14 empty] | 75 | 62 | 62 |  |  | R Mangale | 35.5 | 0.041667: 28.4; 0.083333: 7.1
NMRS-MATA I | [15 empty] | 10 | 10 | [14 empty] | 240 | 10 | 10 |  |  | U Rahughat | 48.5 | 0.041667: 38.8; 0.083333: 9.7
HETAUDA-MATA | [15 empty] | -26 | -26 | [14 empty] | 240 | -26 | -26 |  |  | Total | 127.8 | 0.041667: 103.04; 0.083333: 24.76
KL3-HETAUDA | [15 empty] | 15 | 15 | [15 empty] | 15 | 15
KL1-SYU | [15 empty] | 16.2 | 16.2 | [14 empty] | 60 | 16.2 | 16.2
KHIMTI-LAMOSANGHU | [15 empty] | -17 | -17 | [14 empty] | 120 | -17 | -17 |  |  | Dordi Corridor | Rated | 0.041667: 50%; 0.083333: DI
LAMOSHANGU-BHAKTAPUR I | [15 empty] | 60 | 60 | [15 empty] | 60 | 60 |  |  | Super Dordi | 54 | 0.041667: 27; 0.083333: 27
BALAJU-SYUCHATAR | [15 empty] | -11 | -11 | [15 empty] | -11 | -11 |  |  | Upper Dordi | 25 | 0.041667: 12.5; 0.083333: 12.5
PATHALIYA CHAPUR 1 | [15 empty] | 6.3 | 6.3 | [15 empty] | 6.3 | 6.3 |  |  | Dordi 27 | 27 | 0.041667: 13.5; 0.083333: 13.5
DHALKE-KHIMTI I | [15 empty] | -490 | -490 | [15 empty] | -490 | -490 |  |  | Dordi 12 | 12 | 0.041667: 6; 0.083333: 6
DAMAK-DUHABI | [15 empty] | 96 | 96 | [15 empty] | 96 | 96 |  |  | Total | 118 | 0.041667: 59.5; 0.083333: 58.5
DHALKE-MIRCHAIYA I | [15 empty] | -33 | -33 | [15 empty] | -33 | -33
TRI-3 HUB -MATATIRTHA I | [15 empty] | 95 | 95 | [15 empty] | 95 | 95
TRISULI-BALAJU I | [15 empty] | 17 | 17 | [15 empty] | 17 | 17 |  |  | Dana Corridor | Rated | 0.041667: 100%; 0.083333: DI
DEVIGHAT-CHAPALI | [15 empty] | 25.6 | 25.6 | [15 empty] | 25.6 | 25.6 |  |  | Nilgiri1 | 38 | 0.041667: 38; 0.083333: 0
Water Level | [32 empty] | 0 | 0 |  |  | Nilgiri2 | 71 | 0.041667: 71; 0.083333: 0
UTK (1986.6, 1982.5, m3/s, Missing Level Data) | [32 empty] | 0 | 0 |  |  | Mistri | 42 | 0.041667: 42; 0.083333: 0
KGA (523.8 M) | [32 empty] | 0 | 0 |  |  | Ghar Khola | 14.8 | 0.041667: 14.8; 0.083333: 0
MMRS (625.6 M) | [32 empty] | 0 | 0 |  |  | Total | 165.8 | 0.041667: 2453.84; 0.083333: 0
MRS (337.5 M) | [32 empty] | 0 | 0
CHM (887.8 M) | [32 empty] | 0 | 0
KL-1 (1530, 1484, m3/s, Missing Level Data) | [32 empty] | 0 | 0 |  |  | Khimti Corridor | Rated | 0.041667: 100%; 0.083333: DI
Spill Power | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 476.732 | 476.732 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | Likhu 1 | 77 | 0.041667: 77; 0.083333: 0
SPILL (Assume Plant cap. to run @Full Gen.) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1230.265 | 1204.865 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | Likhu 2 | 55 | 0.041667: 55; 0.083333: 0
Other NEA Small | [36 empty] | Likhu A | 29 | 0.041667: 29; 0.083333: 0
PANAUTI(2.4) | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 2.4 |  |  |  |  | L Likhu | 28 | 0.041667: 28; 0.083333: 0
TATOPANI(2) | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 2 |  |  |  |  | Khimti | 60 | 0.041667: 60; 0.083333: 0
SETI(1.5) | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 |  |  |  |  | Upper Khimti | 12 | 0.041667: 12; 0.083333: 0
FEWA(1) | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 1 |  |  |  |  | Tallo Khare | 11 | 0.041667: 11; 0.083333: 0
TINAU(1) | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 1 |  |  |  |  | Balephi | 36 | 0.041667: 36; 0.083333: 0
SUNDARIJAL(0.66) | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.66 |  |  |  |  | U Bhotekoshi | 45 | 0.041667: 45; 0.083333: 0
Other NEA Small | 3.54 | 3.54 | 3.54 | 3.54 | 3.54 | 3.54 | 3.54 | 3.54 | 3.54 | 3.54 | 3.54 | 3.54 | 3.54 | 3.54 | 3.54 | 3.54 | 3.54 | 3.54 | 3.54 | 3.54 | 3.54 | 3.54 | 3.54 | 3.54 | 3.54 | 3.54 | 3.54 | 3.54 | 3.54 | 3.54 | 3.54 | 8.56 |  |  |  |  | Total | 353 | 0.041667: 353; 0.083333: 0
Others IPP Detail(Hydro)
Upper Mai Khola(9.980) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.98
Kabeli B-1 Cascade(9.940) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.94 | [5 empty] | Rated | bar: 0.041667 to 0.083333
Iwa Khola(9.900) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.9 |  |  |  |  | Sanjen | 78 | 0.083333: 0
Upper Ingwa khola(9.700) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.7 |  |  |  |  | M Tamor | 73 | 0.083333: 0
Sipring Khola(9.658) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.658 |  |  |  |  | Mewa | 25 | 0.083333: 0
Daram Khola(9.600) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.6 | [5 empty] | 176 | 0.041667: 0; 0.083333: 0
Super Mai 'A' (9.600) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.6 |  |  |  |  | Total Spill Power, MW |  | 0.083333: 83.26
Mai Beni(9.510) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.51
Mid Solu Khola(9.500) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.5
Andhi Khola(9.400) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.4
Super Chepe(9.050) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.05
Rudi Khola A(8.800) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.8
Chepe Khola Small(8.630) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.63
Naugadh gad Khola(8.500) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.5
Upper Hewa Khola Small(8.500) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.5
Ankhu Khola - 1(8.400) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.4
Mai sana Cascade(8.000) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8
Taksar Pikhuwa(8.000) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8
Upper Naugad Gad(8.000) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8
Super Mai(7.800) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.8
Jogmai(7.600) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.6
Indrawati - III (7.500) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.5
Upper Khorunga(7.500) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.5
Upper Midim(7.500) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.5
Yambling Khola(7.270) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.27
Chepe khola A(7.000) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7
Mai Cascade(7.000) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7
Molung Khola(7.000) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7
Upper Khimti II(7.000) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7
Upper Mardi(7.000) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7
Upper Suri(7.000) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7
Hidi Khola(6.820) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.82
Rudi Khola B(6.600) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.6
Sapsup Khola(6.600) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.6
Suri Khola(6.400) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4
Lower Jogmai(6.200) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2
Buku khola(6.000) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6
Daraudi Khola A(6.000) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6
Rele Khola(6.000) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6
Super Hewa(6.000) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6
Upper Phawa(5.800) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.8
Sagu Khola-1(5.500) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.5
Jogmai Cascade(5.200) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2
Upper Mai C(5.100) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.1
Buku Kapati(5.000) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5
Ghalemdi Khola(5.000) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5
Ghatte Khola(5.000) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5
Lankhuwa Khola(5.000) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5
Mailung Khola(5.000) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5
Pikhuwa Khola(5.000) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5
Rukumgad(5.000) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5
Tadi Khola (Thaprek)(5.000) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5
Upper Hugdi Khola(5.000) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5
Lower Tadi(4.993) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.993
Richet Khola(4.980) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.98
Bhim Khola(4.960) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.96
Puwa - 2(4.960) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.96
Phawa Khola(4.950) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.95
Siuri Khola(4.950) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.95
Upper Piluwa Khola -3 (4.950) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.95
Khorunga Khola(4.800) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.8
Mardi Khola(4.800) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.8
Padam Khola(4.800) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.8
Upper Piluwa Khola 2(4.720) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.72
Upper Chirkhwa(4.700) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.7
Upper Machha Khola Small(4.550) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.55
Bijayapur 2 Khola Small(4.500) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.5
Mai Khola(4.500) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.5
Hewa Khola(4.455) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.455
Bijayapur-1(4.410) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.41
Radhi Khola(4.400) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4
Tungun-Thosne(4.360) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.36
Baramchi Khola(4.200) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.2
Khudi Khola(4.000) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4
Puwa Khola -1 (4.000) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4
Sabha Khola(4.000) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4
Sardi Khola(4.000) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4
Upper Chhyangdi Khola(4.000) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4
Upper Lohore(4.000) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4
Super Mai Cascade(3.800) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.8
Dwari Khola(3.750) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.75
Charanawati Khola(3.520) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.52
Seti Khola(3.500) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5
Kapadi Gad(3.330) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.33
Gelun (3.200) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2
Bhairab Kunda(3.000) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3
Chaku Khola(3.000) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3
Midim Karapu(3.000) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3
Piluwa Khola Small(3.000) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3
Upper Puwa -1(3.000) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3
Upper Rawa(3.000) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3
Chake Khola(2.830) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.83
Daram Khola A(2.500) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5
Sunkoshi Small(2.500) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5
Ridi Khola(2.400) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4
Upper Syange Khola(2.400) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4
Jiri Khola Small(2.200) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.2
Chhandi(2.000) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
Jhyadi Khola(2.000) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
Khani Khola(2.000) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
Upper Richet(2.000) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
Lower Chaku Khola(1.800) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8
Middle Chaku(1.800) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8
Thoppal Khola(1.650) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.65
Upper Gaddigad(1.550) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.55
Theule Khola(1.500) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5
Saiti Khola(0.999) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.999
Suspa Bukhari(0.998) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.998
Hadi Khola Sunkoshi A(0.997) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.997
Lower Chhote Khola(0.997) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.997
Jeuligad(0.996) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.996
Miya Khola(0.996) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.996
Pati Khola Small(0.996) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.996
Pheme Khola(0.995) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.995
Chhote Khola(0.993) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.993
Upper Hadi Khola(0.991) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.991
Lower Piluwa Small(0.990) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99
Selang Khola(0.990) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99
Seti-II(0.979) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.979
Idi Khola(0.975) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.975
Ghatte Khola Small(0.970) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.97
Sisne Khola Small(0.750) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.75
Dhunge-Jiri(0.600) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.6
Belkhu(0.518) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.518
Rairang Khola(0.500) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5
Sali Nadi(0.250) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25
Syange Khola(0.183) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.183
Midim Khola(0.100) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1
Sobuwa Khola-2 MHP(0.090) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.09
Leguwa Khola(0.040) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.04
Syauri Bhumey(0.023) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.023
Others IPP Total(Hydro) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 589.142
IPP Detail(Solar)
Upper Mai Khola(9.980) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15
Kabeli B-1 Cascade(9.940) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10
Iwa Khola(9.900) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10
Upper Ingwa khola(9.700) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10
Sipring Khola(9.658) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10
Daram Khola(9.600) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10
Super Mai 'A' (9.600) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.5
Mai Beni(9.510) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8
Mid Solu Khola(9.500) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.7
Andhi Khola(9.400) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.8
Super Chepe(9.050) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5
Rudi Khola A(8.800) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5
Chepe Khola Small(8.630) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5
Naugadh gad Khola(8.500) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4
Upper Hewa Khola Small(8.500) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4
Ankhu Khola - 1(8.400) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3
Mai sana Cascade(8.000) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3
Taksar Pikhuwa(8.000) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
Upper Naugad Gad(8.000) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Super Mai(7.800) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Jogmai(7.600) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.96
Indrawati - III (7.500) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.6804
IPP Total(Solar) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 129.9404
IPP Detail(BAGASSE)
Everest Sugar and Chemical Industries Ltd.(3.000) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3
Indushankar Chini Udhyog Ltd.(3.000) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3
Others IPP Total(Bagasse) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6
Others IPP Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 725.0824
Note on A2: Load Supply Group